## Sheet1
Vendor | Details | Tesla | Enphase | Sun Gold Power
Solar Panels |  | 8 x 450W | 8 x 450W | 8 x 415W
Inverter/Battery |  | 13.5kW | 3.04kW/10kWh | 8kW/10.24kWh
Devices total |  |  |  | 6000
| Permit Application |  |  | ~$500
| Racking rooftop |  |  | ~$2000
| Wiring |  |  | ~$300
| Conduit & Jbox |  |  | ~$300
| Disconnect breaker |  |  | ~$100
| Outdoor cabinet with fans |  |  | ~$1000
Materials total |  |  |  | 4200
Installation |  |  |  | 4000
Others
Purchase Price |  | 27940 | 29920 | 14200
Federal Tax Credit |  | 8382 | 8976
Net System Cost |  | 19558 | 20944
1.Compare between vendors in the silimar range of Solar Panel 3.6kW (8 x 450W),Inverter 8kW,Battery 10kWh.
2. Tesla: 8 REC 450 + PowerWall3 (1 x 13.5kWh)
Enphase: 8 REC 450 + Micro + Enphase (2 x 5.00kWh)
SunGoldPower: 8 415W + Hybrid (8kW) + Battery (2 x 5.12kWh)
3. Tesla and Enphase's information is from the quote provided by Sunlight Electri-Cal Solutions.
3. Compared mainly the difference with current deivces and installation cost included.
Cost saving from standardized cabinet and technology enhancements not included.